## mMR Cross Calibration Worksheet
Copy Worksheet to Here

## Injection Data
Reference Time | Volume (mL) | Activity (mCi) | Time of Measurement | Decay Correction Factor | Decay Corrected Injected Dose (mCi) | Decay Corrected Concentration (kBq/cc)
Measured Dose |  |  |  | 1 | 0 | #DIV/0!
Residual Dose | --- |  |  | 1

## Gamma Counter
Reference Time | Empty (g) | Full (g) | Mass(g) | CPM | Time of Measurement | Volume (mL) | Decay Correction Factor | Decay Corrected dps | Decay Corrected Concentration (kBq/cc) | Smith-Jones Calculation
0:00 | [9 empty] | Mean Activity (kBq/g) | Time | Decay Corrected Mean Activity (kBq/g)
Samples
1 |  |  | 0 |  |  | 0 | 1 | 0 | #DIV/0!
2 |  |  | 0 |  |  | 0 | 1 | 0 | #DIV/0! |  |  | 0
3 |  |  | 0 |  |  | 0 | 1 | 0 | #DIV/0!
[6 empty] | Averaged Decay Corrected Concentration (kBq/cc) |  |  | #DIV/0!
[6 empty] | Standard Deviation (as % of Average) |  |  | #DIV/0!
Decay Corrected Concentration (kBq/cc) | [5 empty] | #DIV/0!
Percent Difference from Injection Data | [5 empty] | #DIV/0!
Percent Difference from Smith-Jones Calculation | [5 empty] | #DIV/0!

## ROI Analysis
Compare to Biograph mMR Cross Calibration Worksheet
|  |  |  | ROIs |  |  |  |  | Reconstruction Parameters
Scan Start Time |  |  |  | 13 circular ROIs were drawn on the phantom. 3 ROIs were drawn at 3 axial positions |  |  |  |  | Iterations | 6
Calculated Activty (CA) [kBq/cc] |  |  |  | Radius ROI 1 = 90 mm Radius ROI 2 = 50 mm Radius ROI 3 = 10 mm |  |  |  |  | Subsets | 21
Measured Activity (MA) [kBq/cc] |  |  |  | 4 additional ROIs with radius 90 mm in between the previous ROIs
Cross Calibration Factor
| FBP | Averaged | Sd | OSEM | Averaged | Sd | OSEM - PSF | Averaged | Sd
| VoiName(Region) | [kBq/cc] | [kBq/cc] | VoiName(Region) | [kBq/cc] | [kBq/cc] | VoiName(Region) | [kBq/cc] | [kBq/cc]
ROI size (mm) | Group |  |  | Group |  |  | Group
90 | 1 |  |  | 1 |  |  | 1
50 | 2 |  |  | 2 |  |  | 2
10 | 3 |  |  | 3 |  |  | 3
90 | 4 |  |  | 4 |  |  | 4
50 | 5 |  |  | 5 |  |  | 5
10 | 6 |  |  | 6 |  |  | 6
90 | 7 |  |  | 7 |  |  | 7
50 | 8 |  |  | 8 |  |  | 8
10 | 9 |  |  | 9 |  |  | 9
90 | 10 |  |  | 10 |  |  | 10
90 | 11 |  |  | 11 |  |  | 11
90 | 12 |  |  | 12 |  |  | 12
90 | 13 |  |  | 13 |  |  | 13
| Averaged | #DIV/0! | #DIV/0! | Averaged | #DIV/0! | #DIV/0! | Averaged | #DIV/0! | #DIV/0!
| Standard Deviation | #DIV/0! | #DIV/0! | Standard Deviation | #DIV/0! | #DIV/0! | Standard Deviation | #DIV/0! | #DIV/0!
| Percent Difference from CA | #DIV/0! |  | Percent Difference from CA | #DIV/0! |  | Percent Difference from CA | #DIV/0!
| Percent Difference from MA | #DIV/0! |  | Percent Difference from MA | #DIV/0! |  | Percent Difference from MA | #DIV/0!
| Group | 0 |  | Group | 0 |  | Group | 0
| Percent Difference from CA | #DIV/0! |  | Percent Difference from CA | #DIV/0! |  | Percent Difference from CA | #DIV/0!
| Percent Difference from MA | #DIV/0! |  | Percent Difference from MA | #DIV/0! |  | Percent Difference from MA | #DIV/0!
| Averaged Cross Calibration Factor | #DIV/0! |  | Averaged Cross Calibration Factor | #DIV/0! |  | Averaged Cross Calibration Factor | #DIV/0!
| Group Cross Calibration Factor | #DIV/0! |  | Group Cross Calibration Factor | #DIV/0! |  | Group Cross Calibration Factor | #DIV/0!

## Constants
Blood density (g/cc) | F-18 Calibration Factor for 0.2 mL (cps/Bq) | Half-life
1 | 0.39129 | 109.77