## Calibration Data
SBU Cancer Center Well Counter Calibration to PET/CT
Isotope Data | [5 empty] | COUNT 1 | [8 empty] | COUNT 2 |  |  |  |  | Difference Between Count 1 and Count 2 |  | Time Offsets
F-18 half-life | 6586.2 | sec | 109.77 | min |  | Sample | Full (g) | Empty (g) | Volume (ul) | Count Rate (kcpm) | iPhone Time at End of 20 Second Count | Decay Since Scan Start Time | Count Rate per cc at Scan Start Time After Branching Correction (kcpm/cc) | Difference from Average | Count Rate (kcpm) | iPhone Time at End of 20 Second Count | Decay Since Scan Start Time | Count Rate per cc at Scan Start Time | Difference from Average | Sample | Percent Difference | Scanner Time
F-18 branching fraction | 0.9673 |  |  |  |  | 1 |  |  | #DIV/0! |  |  | 1 | #DIV/0! | #DIV/0! |  |  | 1 | #DIV/0! | #DIV/0! | 1 | #DIV/0! | Counter Time
[6 empty] | 2 |  |  | #DIV/0! |  |  | 1 | #DIV/0! | #DIV/0! |  |  | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | iPhone Time
Sample Data | [5 empty] | 3 |  |  | #DIV/0! |  |  | 1 | #DIV/0! | #DIV/0! |  |  | 1 | #DIV/0! | #DIV/0! | 3 | #DIV/0!
Sample Density |  | g/cc |  |  |  | 4 |  |  | #DIV/0! |  |  | 1 | #DIV/0! | #DIV/0! |  |  | 1 | #DIV/0! | #DIV/0! | 4 | #DIV/0! | Scanner PC to iPhone Time Correction (seconds |  | 0
Well Counter Background Rate |  | kcpm |  |  |  | 5 |  |  | #DIV/0! |  |  | 1 | #DIV/0! | #DIV/0! |  |  | 1 | #DIV/0! | #DIV/0! | 5 | #DIV/0!
[6 empty] | 6 |  |  | #DIV/0! |  |  | 1 | #DIV/0! | #DIV/0! |  |  | 1 | #DIV/0! | #DIV/0! | 6 | #DIV/0! | Phantom Data
[6 empty] | Average of 1st 3 (kcpm/cc) |  |  | #DIV/0! | Average |  |  | #DIV/0! |  | Average |  |  | #DIV/0! |  | Average | #DIV/0! |  |  | Activity (mCi) | iPhone Measurement Time | Decay Since Scanner Start | Activity at Scanner Start (mCi)
[6 empty] | Standard Deviation (as % of Average) |  |  | #DIV/0! | Standard Deviation (as % of Average) |  |  | #DIV/0! |  | Standard Deviation (as % of Average) |  |  | #DIV/0! |  | Standard Deviation | #DIV/0! |  | Syringe |  |  | 1 | 0
[26 empty] | 1 | 0
[27 empty] | 0 | mCi into Phantom
[27 empty] | 6283.18 | cc estimated phantom volume for 20x20 cylinder
[27 empty] | 0 | uCi/cc estimated phantom activity at scan start
[27 empty] | 0 | converted to Bq/cc
Output | [21 empty] | PET data
Overall Average | #DIV/0! | kcpm/cc |  | #DIV/0! | corrected nCi/cc | [17 empty] | PET scan start time |  |  | Scanner PC
| #DIV/0! | counts/sec/cc | [23 empty] | iPhone
| #DIV/0! | ESTIMATED counter efficiency (using injected dose and estimated volume) | [21 empty] | Bq/cc from Dinko/Nand analysis
| #DIV/0! | ACTUAL counter efficiency using PET data as reference | [20 empty] | 0 | uCi/cc at scan start time
| #DIV/0! | CORRECTION FACTOR
Note on A1: Microsoft Office User: 1/16/13, Paul Vaska and Nand Relan Siemens Biograph TruePoint PET-CT, "sensitivity phantom", ~20 cm diameter x 20 cm length >>> counter errors from count 1 to count 2 are ~0.5%, but among samples is 3% >>> counter is reproducible and decay correction is good, but maybe volumes are off or deadtime differences? >>> assumes that PET scanner is correct on absolute scale, including branching fraction correction! >>> sample activity at scan start time (nCi/cc) = CORRECTION FACTOR * (kcpm from well counter - background) / sample volume / decay factor to scan start time / isotope branching fraction
Note on AA10: Microsoft Office User: not used in efficiency calculations, just a double check

## Subject 1
SBU Cancer Center Benveniste Protocol
Date
Scanner
Subject ID
Subject #1 Data
injection time |  |  | Scanner Time
Scan Start Time |  |  | Scanner Time |  | Time Difference | 0:00
Injected Dose:
| Dose Calibrator Background |  |  |  | mCi
|  |  | Dose Reading (mCi) | Scanner Time | Decay Since Scanner Start | Activity at Scanner Start (mCi)
| Syringe Before Injection |  |  |  | 1 | 0
| Syringe After Injection |  |  |  | 1 | 0
[6 empty] | 0 | mCi at Scan Start Time
Blood Data:
Well Counter Correction Factor
| Well Counter Background |  |  |  | kcpm
| Default Sample Volume |  |  |  | ul
Sample Number | Time Drawn | Sample Volume (ul) | Time Counted | kcpm | Decay to Scan Start | Time After Injections (Minutes) | nCi/cc @ Scan Start | nCi as % of Injected Dose | Time After Injection (Seconds) | kBq/cc
1 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
2 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
6 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
7 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
8 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
9 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
10 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
11 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
12 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
13 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
14 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
15 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
16 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
17 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
18 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
19 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
20 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
21 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
22 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
23 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
24 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
Note on G16: Microsoft Office User: (assumes branching fraction correction is included in dose calibrator reading)
Note on E20: Microsoft Office User: >> CORRECT IN COLUMN BELOW IF DIFFERENT FOR ANY SAMPLE

## Subject 2
SBU Cancer Center Benveniste Protocol
Date
Scanner
Subject ID
Subject #1 Data
injection time |  |  | Scanner Time
Scan Start Time |  |  | Scanner Time |  | Time Difference | 0:00
Injected Dose:
| Dose Calibrator Background |  |  |  | mCi
|  |  | Dose Reading (mCi) | Scanner Time | Decay Since Scanner Start | Activity at Scanner Start (mCi)
| Syringe Before Injection |  |  |  | 1 | 0
| Syringe After Injection |  |  |  | 1 | 0
[6 empty] | 0 | mCi at Scan Start Time
Blood Data:
Well Counter Correction Factor
| Well Counter Background |  |  |  | kcpm
| Default Sample Volume |  |  |  | ul
Sample Number | Time Drawn | Sample Volume (ul) | Time Counted | kcpm | Decay to Scan Start | Time After Injections (Minutes) | nCi/cc @ Scan Start | nCi as % of Injected Dose | Time After Injection (Seconds) | kBq/cc
1 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
2 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
6 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
7 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
8 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
9 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
10 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
11 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
12 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
13 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
14 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
15 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
16 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
17 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
18 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
19 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
20 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
21 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
22 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
23 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
24 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
Note on G16: Microsoft Office User: (assumes branching fraction correction is included in dose calibrator reading)
Note on E20: Microsoft Office User: >> CORRECT IN COLUMN BELOW IF DIFFERENT FOR ANY SAMPLE

## Subject 3
SBU Cancer Center Benveniste Protocol
Date
Scanner
Subject ID
Subject #1 Data
injection time |  |  | Scanner Time
Scan Start Time |  |  | Scanner Time |  | Time Difference | 0:00
Injected Dose:
| Dose Calibrator Background |  |  |  | mCi
|  |  | Dose Reading (mCi) | Scanner Time | Decay Since Scanner Start | Activity at Scanner Start (mCi)
| Syringe Before Injection |  |  |  | 1 | 0
| Syringe After Injection |  |  |  | 1 | 0
[6 empty] | 0 | mCi at Scan Start Time
Blood Data:
Well Counter Correction Factor
| Well Counter Background |  |  |  | kcpm
| Default Sample Volume |  |  |  | ul
Sample Number | Time Drawn | Sample Volume (ul) | Time Counted | kcpm | Decay to Scan Start | Time After Injections (Minutes) | nCi/cc @ Scan Start | nCi as % of Injected Dose | Time After Injection (Seconds) | kBq/cc
1 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
2 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
6 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
7 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
8 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
9 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
10 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
11 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
12 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
13 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
14 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
15 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
16 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
17 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
18 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
19 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
20 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
21 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
22 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
23 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
24 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
Note on G16: Microsoft Office User: (assumes branching fraction correction is included in dose calibrator reading)
Note on E20: Microsoft Office User: >> CORRECT IN COLUMN BELOW IF DIFFERENT FOR ANY SAMPLE

## Subject 4
SBU Cancer Center Benveniste Protocol
Date
Scanner
Subject ID
Subject #1 Data
injection time |  |  | Scanner Time
Scan Start Time |  |  | Scanner Time |  | Time Difference | 0:00
Injected Dose:
| Dose Calibrator Background |  |  |  | mCi
|  |  | Dose Reading (mCi) | Scanner Time | Decay Since Scanner Start | Activity at Scanner Start (mCi)
| Syringe Before Injection |  |  |  | 1 | 0
| Syringe After Injection |  |  |  | 1 | 0
[6 empty] | 0 | mCi at Scan Start Time
Blood Data:
Well Counter Correction Factor
| Well Counter Background |  |  |  | kcpm
| Default Sample Volume |  |  |  | ul
Sample Number | Time Drawn | Sample Volume (ul) | Time Counted | kcpm | Decay to Scan Start | Time After Injections (Minutes) | nCi/cc @ Scan Start | nCi as % of Injected Dose | Time After Injection (Seconds) | kBq/cc
1 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
2 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
6 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
7 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
8 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
9 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
10 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
11 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
12 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
13 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
14 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
15 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
16 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
17 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
18 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
19 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
20 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
21 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
22 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
23 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
24 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
Note on G16: Microsoft Office User: (assumes branching fraction correction is included in dose calibrator reading)
Note on E20: Microsoft Office User: >> CORRECT IN COLUMN BELOW IF DIFFERENT FOR ANY SAMPLE

## Subject 5
SBU Cancer Center Benveniste Protocol
Date
Scanner
Subject ID
Subject #1 Data
injection time |  |  | Scanner Time
Scan Start Time |  |  | Scanner Time |  | Time Difference | 0:00
Injected Dose:
| Dose Calibrator Background |  |  |  | mCi
|  |  | Dose Reading (mCi) | Scanner Time | Decay Since Scanner Start | Activity at Scanner Start (mCi)
| Syringe Before Injection |  |  |  | 1 | 0
| Syringe After Injection |  |  |  | 1 | 0
[6 empty] | 0 | mCi at Scan Start Time
Blood Data:
Well Counter Correction Factor
| Well Counter Background |  |  |  | kcpm
| Default Sample Volume |  |  |  | ul
Sample Number | Time Drawn | Sample Volume (ul) | Time Counted | kcpm | Decay to Scan Start | Time After Injections (Minutes) | nCi/cc @ Scan Start | nCi as % of Injected Dose | Time After Injection (Seconds) | kBq/cc
1 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
2 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
6 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
7 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
8 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
9 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
10 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
11 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
12 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
13 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
14 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
15 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
16 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
17 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
18 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
19 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
20 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
21 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
22 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
23 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
24 |  | 0 |  |  | 1 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0!
Note on G16: Microsoft Office User: (assumes branching fraction correction is included in dose calibrator reading)
Note on E20: Microsoft Office User: >> CORRECT IN COLUMN BELOW IF DIFFERENT FOR ANY SAMPLE

## TACs
Subject 1 |  | Subject 2 |  | Subject 3 |  | Subject 4 |  | Subject 5
FDG Radioactivity Count |  | FDG Radioactivity Count |  | FDG Radioactivity Count |  | FDG Radioactivity Count |  | FDG Radioactivity Count
Time | kcpm | Time | kcpm | Time | kcpm | Time | kcpm | Time | kcpm
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0 | 0:00 | 0
Subject 1 |  | Subject 2 |  | Subject 3 |  | Subject 4 |  | Subject 5
Time | nCi as % of Injected dose | Time | nCi as % of Injected dose | Time | nCi as % of Injected dose | Time | nCi as % of Injected dose | Time | nCi as % of Injected dose
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0! | 0:00 | #DIV/0!
-0.026
-0.071
-0.086
31.1
488.9
426
276.6
213.1
186.5
169.9
162.1
152.2
147.7
143.4
117.5
116.3
97.57
88.08
79.14
70.52
67.7
60.71
55.23
52.3
38.08
Note on E1: SUNY: Incomplete input fuction
Note on E28: SUNY: Incomplete input fuction